## Read Me
Refrigerant Recovery, Reclaim, and Reuse Requirements,” or R4 Program
Air Conditioning (AC) and Variable Refrigerant Flow (VRF) manufacturers are subject to Section 95376, Refrigerant Recovery, Reclaim, and Reuse Requirements or R4 Program. The R4 Program requires AC and VRF manufacturers to use a specified minimum amount of reclaimed R-410A refrigerant in new equipment or in the servicing of existing equipment.
“Certified Reclaimed Refrigerant” means used (recovered) refrigerant that has been reclaimed by a U.S. EPA-certified refrigerant reclaimer from a previously operationalappliance and meets all of the following conditions:
1. Meets all specifications in 40 C.F.R. Part 82, Subpart F, Appendix A(Specifications for Refrigerants) (January 1, 2017), which is incorporated herein by reference;
2. Must have results of the analysis conducted to verify that reclaimed refrigerant meets the necessary specifications as required in (1) above; and
3. Contains no greater than fifteen percent (15%) new (virgin) refrigerant by weight to meet the specifications in 40 C.F.R., Part 82, Subpart F, Appendix A(Specifications for Refrigerants) (January 1, 2017). The certified reclaimer must have documentation that supports it has not exceeded the maximum allowable virgin refrigerant content.
AC manufacturers are subject to a 10 percent refrigerant reclaim use requirement annually, for 2023 and 2024. VRF manufacturers are subject to a 15 percent refrigerant reclaim use requirement annually, for 2023 and 2024 and a 25 percent refrigerant reclaim requirement for 2025. The annual reclaim use requirement is calculated using the number of units of equipment that entered into California in 2018 and 2019 as a baseline. If no equipment was entered into California then projected values can be used instead. Manufacturers of AC and VRF equipment are subject to annual reporting requirements and the Initial Baseline Report (IBR) shall be submitted by July 1, 2023. Please see this page for example calculations. Annual reports are due by July 1, 2024, and July 1, 2025 for AC manufacturers and July 1, 2024, July 1, 2025, and July 1, 2026 for VRF manufacturers.
Each report is to be submitted with an attestation, a template is also avaialble for optional use on our website.
This spreadsheet is to facilitate reporting requirements and there is no regulatory requirement to submit reports using this spreadsheet.

## AC IBR with Shipments
AC Initial Baseline Report (IBR) with Shipments
Refrigerant Used in 2018
Type of refrigerant > 750 GWP | Quantity of Refrigerant > 750 GWP
Refrigerant Used in 2019
Type of refrigerant > 750 GWP | Quantity of Refrigerant > 750 GWP
Baseline Average Pounds of Refrigerant in 2018 and 2019
0
Certified Reclaim R-410A Required
Year | Pounds (lbs) of certified reclaimed R-410A refrigerant required
2023 | 0
2024 | 0
“As a responsible official with authority to make these disclosures I declare under penalty of perjury under the laws of the State of California that the foregoing is true and correct and that under the R4 Program, the certified reclaimed refrigerant detailed herein is not being purchased, used, or counted to comply with any other government requirement(s), private or voluntary program(s), or any other credit(s) or incentive(s).

## AC Annual Report 2024
Annual Report - 2024
Calendar Year Reporting
2023
Certified Reclaimed R-410A refrigerant used | Quantity (lbs)
In factory for new equipment manufactured
In field for servicing existing equipment
In field for charging new equipment
Total | 0
Optional Early Action Credit: Type of refrigerant with a GWP < 750 used in new AC equipment entered into commerce in California prior to 1/1/2025 | Quantity (lbs)
Total | 0
Optional Early Action Credit: Type of equipment entered into commerce in California containing refrigerant with a GWP <750 prior to 1/1/2025 | Amount (units)
Names of U.S. EPA-certified reclaimers | Addresses of U.S. EPA- Certified Reclaimers | Quantity (lbs) of certified reclaimed R-410A purchased | Certified Reclaimed R-410A Quantity (lbs) Used
Type of Equipment Containing Certified Reclaimed R-410A | Number of Units
Names of Companies to which equipment manufacturers first sold reclaimed refrigerant (if applicable) | Address | Is this a servicing or distributing company?
“As a responsible official with authority to make these disclosures I declare under penalty of perjury under the laws of the State of California that the foregoing is true and correct and that under the R4 Program, the certified reclaimed refrigerant detailed herein is not being purchased, used, or counted to comply with any other government requirement(s), private or voluntary program(s), or any other credit(s) or incentive(s).

## Final Report 2025
Final Report - 2025
Calendar Year Reporting
2024
Certified Reclaimed R-410A refrigerant used | Quantity (lbs)
In factory for new equipment manufactured
In field servicing exisiting equipment
In field for charging new equipment
Total | 0
Optional Early Action Credit: Type of refrigerant with a GWP < 750 used in new AC equipment entered into commerce in California prior to 1/1/2025 | Quantity (lbs)
Total | 0
Optional Early Action Credit: Type of equipment entered into commerce in California containing refrigerant with a GWP <750 prior to 1/1/2025 | Amount (units)
Names of U.S. EPA-certified reclaimers | Addresses of U.S. EPA- Certified Reclaimers | Quantity (lbs) of certified reclaimed R-410A purchased | Certified Reclaimed R-410A Quantity (lbs) Used
Type of Equipment Containing Certified Reclaimed R-410A | Number of Units
Names of Companies to which equipment manufacturers first sold reclaimed refrigerant (if applicable) | Address | Is this a servicing or distributing company?
“As a responsible official with authority to make these disclosures I declare under penalty of perjury under the laws of the State of California that the foregoing is true and correct and that under the R4 Program, the certified reclaimed refrigerant detailed herein is not being purchased, used, or counted to comply with any other government requirement(s), private or voluntary program(s), or any other credit(s) or incentive(s).

## Summary
Summary Report
Initial Baseline Report - Total Certified Reclaimed R410A Required
0
Total Certified Reclaimed R-410A Used
0
Optional Early Action Credit: Total Pounds of refrigerant with a GWP < 750 used in new AC equipment entered into commerce in California prior to 1/1/2025
0